FILAMENT BULBS

ITEM NO: VT-1986D; WATTS: 4W

| Item No: | VT-1986D |
| --- | --- |
| SKU Code | 4365:3000K |
| Type | Candle |
| Base | E14 |
| Real Watts | 4W |
| EQ. Watts | 40W |
| Voltage | 220-240V |
| Input Frequency | 50Hz |
| Input Efficiency | 100lm/w |
| Lumen(lm) | 400lm |
| PF | >0.4 |
| CRI | >80 |
| Color Temperature | 3000K |
| Beam Angle | 300’D |
| LED Chip | Filament |
| Driver | Constant current dimming driver |
| Protection Class | IP20 |
| Body Material | Glass |
| Dimmable | Yes |
| Unit size | 37mmx100mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |