R63 LED BULB

ITEM NO: VT-1862; WATTS:8W

| Item No: | VT-1862 |
| --- | --- |
| SKU Codes | 4244:6000K |
| Type: | R63 |
| Base | E27 |
| Real Watts | 8W |
| EQ. Watts | 60W |
| Voltage | 170-240V,50Hz |
| Input Current | 63ma |
| Input Efficiency | 62lm/w |
| Lumen(lm) | 500lm |
| PF | >0.5 |
| CRI | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 120’D |
| LED Chip | SMD 2835 |
| LED Qty | 16 |
| Driver | RC Buck |
| Protection Class | IP20 |
| Body Material | Plastic |
| Dimmable | No |
| Unit size | 63*100mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |

Instruction Manual：

Installing please following below steps:

- Please note to cut off the power supply before replacing the lamp to prevent electric shock or lamp burning, choose to install to correspondingly lamp holders

- When try to tighten or take off the bulb, please clench radiator body by finger as shown below :

- When need to take off the bulb ,please wait 20minutes after turning off, so as not to burn your fingers