ITEM NO: VT-1216; WATTS: 15W

| Item No: | VT-1216 |
| --- | --- |
| SKU Codes | 4269:3000K |
| Type | PAR38 |
| Base | E27 |
| Real Watts | 15W |
| EQ. Watts | 75W |
| Voltage | 100~240V |
| Input Frequency | 50Hz |
| Input Efficiency | 66lm/w |
| Lumen(lm) | 1000lm |
| PF | >0.5 |
| CRI | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 40’D |
| LED Chip | SMD |
| Driver | Constant Current Non-Isolated Driver |
| Protection Class | IP20 |
| Body Material | Plastic |
| Dimmable | No |
| Unit size | 120mmx132mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |