LED BULBS

ITEM NO: VT-1929; WATTS:10W

| Item No: | VT-1929 |
| --- | --- |
| SKU Codes | 4298:4500K |
| Base | E27 |
| Real Watts | 10W |
| EQ. Watts | 100W |
| Voltage | 200~240V |
| Input Frequency | 50Hz |
| Input Current | 50ma |
| Input Efficiency | 85lm/w |
| Lumen(lm) | 850lm |
| PF | >0.6 |
| RA | >80 |
| Color Temperature | 4500K,6000K |
| Beam Angle | 120’D |
| LED Chip | EPISTAR |
| LED Type | SMD |
| LED Qty | 48 |
| Protection Class | IP20 |
| Body Material | Plastic |
| Color of Fixture | Powder Coating White ( PKW ) |
| Dimmable | No |
| Unit size | 180mm*38mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |