COB DOWNLIGHT

ITEM NO: VT-2646; WATTS:40W

| Item No: | VT-2646 |
| --- | --- |
| SKU Code | 1220:3000K |
| Real Watts | 40W |
| EQ. Watts | 100W |
| Voltage | 100~240V |
| Input Frequency | 50/60Hz |
| Input Current | 130ma |
| Input Efficiency | 70lm/w |
| Lumen(lm) | 3200lm |
| PF | >0.9 |
| RA | >70 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 120’D |
| LED Chip | Taiwan chip |
| LED Type | COB |
| Driver | Constant current power supply |
| Protection Class | IP20 |
| Body Material | Aluminum + Plastic Cover |
| Dimmable | No |
| Unit size | D:221x103mm |
| Cutting Size | D:207mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |