LED STEPLIGHT

ITEM NO: VT-1109 SQ; WATTS: 3W

| Item No: | VT-1109 |
| --- | --- |
| SKU Code | 1210:4500K |
| Shape | Square |
| Real Watts | 3W |
| EQ. Watts | 12W |
| Voltage | 100~240V |
| Input Frequency | 50Hz |
| Input Efficiency | 65lm/w |
| Lumen(lm) | 120lm |
| PF | >0.5 |
| RA | >80 |
| Color Temperature | 3000K ,4500K,6000K |
| Beam Angle | 15’D |
| LED Type | COB |
| LED Qty | 1 |
| Driver | Constant current power supply |
| Protection Class | IP20 |
| Body Material | Aluminum + Plastic Cove |
| Dimmable | No |
| Unit size | 80mmx80mmx51mm |
| Cutting Size | 62mmx62mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |