IP65 DOWNLIGHTS

ITEM NO: VT-7035; WATTS:35W

| Item No: | VT-7035 |
| --- | --- |
| Shape | Rectangle |
| Real Watts | 35W |
| Voltage | 85~265V |
| Input Frequency | 50/60Hz |
| Input Efficiency | 60lm/W |
| Lumen(lm) | 2100lm |
| PF | >0.9 |
| CRI | >70 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 160’D |
| LED Type | SMD |
| Body Material | Powder Coating Aluminum |
| Color of Fixture | PKW |
| Dimmable | No |
| Protection Class | IP65 |
| Unit size | 170mm*264mm*64mm |
| Cutting Size | 225mm*150mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |