LED PANEL LIGHTS

ITEM NO: VT-1807SQ; WATTS: 18W

| Item No: | VT-1807SQ |
| --- | --- |
| SKU Code | 4871:6000K |
| Shape | Square |
| Real Watts | 18W |
| EQ. Watts | 72W |
| Voltage | 200~240V |
| Input Frequency | 50Hz |
| Input Current | 500mA |
| Input Efficiency | 75lm/w |
| Lumen(lm) | 1350lm |
| PF | >0.9 |
| RA | >75 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 120’D |
| Color of Fixture | Powder Coating Die cast (PKW) |
| Protection Class | IP20 |
| Body Material | Aluminum |
| Dimmable | No |
| Unit size | 225mm*225mm;Height:25mm |
| Cutting Size | 205mmx205mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light |