LED  SURFACE PANEL LIGHTS

ITEM NO.: VT- 1408 SQ, WATTS: 8W

| Item No: | VT-1408 SQ |
| --- | --- |
| SKU Code | 4800:6000K (White) |
| Shape | Square |
| Real Watts | 8W |
| EQ. Watts | 24W |
| Voltage | 110~265V |
| Input Frequency | 50/60Hz |
| Input Efficiency | 60lm/w |
| Lumen(lm) | 480lm |
| PF | >0.9 |
| RA | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 120’D |
| LED Chip | SMD 5630 |
| Protection Class | IP20 |
| Color of Fixture | Powder Coating Die cast (PKW) |
| Body Material | Aluminum |
| Dimmable | No |
| Unit size | 115*115mm;H35mm |
| Cutting size | 70mm*70mm |
| Life Time | 20,000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |