LED STRIPS

Item no:VT-5050/30

| Item No: | VT-5050/30 |
| --- | --- |
| Real Watts | 50W/5M |
| Voltage | DC 12V |
| Input Frequency | 30/60Hz |
| Input Current | 5A/5M |
| Lumen/LED | 12 lm/LED |
| Color Temperature | White, Warm White, Red, Green, Blue, RGB |
| Beam Angle | 120’D |
| LED Chip | SMD 5050 |
| LED Qty | 150/5M |
| Driver | No |
| Protection Class | IP20/IP65 |
| Body Material | Plastic Cover Back |
| Unit size | 5 Mtr; Width: 10mm |
| Life Time | 20000hrs |
| Outside using temperature | -25 ~50’C |
| Packing Method | 5mtr roll/packing |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |