T5 TUBE WITH FITTINGS

ITEM NO: VT-1273; WATTS: 14W

| Item No: | VT-1273 |
| --- | --- |
| Type | T5 |
| Real Watts | 14W |
| Voltage | 220~240V |
| Input Frequency | 50/60Hz |
| Lumen(lm) | 1260lm |
| PF | >0.9 |
| CRI | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 141’D |
| LED Chip | SMD |
| Protection Class | IP20 |
| Body Material | Aluminum + Plastic |
| Dimmable | No |
| Unit size | 1200mmx25mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |