LED TUBES

ITEM NO: VT-1248; WATTS: 36W

| Item No: | VT-1248 |
| --- | --- |
| SKU Code | 6200:4500K |
| Real Watts | 36W |
| EQ. Watts | 120W |
| Voltage | AC:200~240V |
| Input Frequency | 50Hz |
| Input Efficiency | 78lm/w |
| Lumen(lm) | 2800lm |
| CRI | >70 |
| PF | >0.9 |
| Color Temperature | 4500K,6000K |
| Beam Angle | 120’D |
| LED Chip | SMD |
| Driver | Constant current power supply |
| Protection Class | IP65 |
| Body Material | Plastic Cover |
| Dimmable | No |
| Unit size | 1200x86x70mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Car park\warehouse\workshop |